## Final Enumerations
Absorption Heat Source | Absorption Stages | AC Adjusted | Air Delivery Type | Air Infiltration Test | Air Infiltration Value Units | Air Side Economizer Type | Annual Cooling Efficiency Units | Annual Heating Efficiency Unit | ASHRAE Audit Level | Assessment Level | Assessment Program | Asset Score Use Type | Audit Exemption | Auditor Qualification Type | Ballast Type | Basement Conditioning | Belt Type | Benchmark Tool | Boiler Type | Building Profile Status | Burner Type | Capacity Units | Case Door Orientation | Chilled Water Reset Control | Chiller Compressor Driver | Chiller Compressor Type | Chiller Type | Climate Zone (ASHRAE) | Climate Zone (Building America) | Climate Zone (California Title24) | Climate Zone (CBECS) | Climate Zone (DOE) | Climate Zone (Energy Star) | Climate Zone (IECC) | Clothes Washer Classification | Clothes Washer Loader Type | CMU Fill | Compressor Staging | Compressor Type | Condenser Fan Speed Operation | Contact Email Address Label | Contact Role | Contact Telephone Number Label | Control Technology | Convection Type | Conveyance Load Type | Conveyance System Type | Cooling Medium | Cooling Supply Air Temperature Control Type | Cooling Tower Control Type | Cost Effectiveness Screening Method | Day Type | Deck Type | Defrosting Type | Dehumidification Type | Discard Reason | Dishwasher Classification | Dishwasher Configuration | Dishwasher Machine Type | District Heating Type | Door Configuration | Door Operation | Draft Type | Dryer Type | Duct Configuration | Duct Insulation Condition | Duct Leakage Test Method | Duct Sealing | Duct Type | DX System Type | Economizer Control | eGRID Region Code | Emission Boundary | Emissions Factor Source | Emissions Type | End Use | Energy Flow Direction | Energy Resource | Energy Storage Technology | Envelope Construction Type | Envelope Type | Evaporative Cooling Type | Exhaust Location | Exterior Door Type | Exterior Roughness | Exterior Shading Type | Exterior Wall Color | Exterior Wall Finish | External Power Supply | Fan Application | Fan Coil Type | Fan Control Type | Fan Placement | Fan Type | Fenestration Frame Material | Fenestration Gas Fill | Fenestration Glass Layers | Floor Area Type | Floor Covering | Floor Insulation Condition | Fluorescent Start Type | Footprint Shape | Foundation Wall Insulation Condition | Foundation Wall Insulation Continuity | Frequency Of Maintenance | Fuel Interruptibility | Fuel Types | Furnace Type | Glass Type | Ground Source Type | Heat Lowered | Heat Pump Type | Heat Recovery Type | Heating Medium | Heating Staging | Heating Supply Air Temperature Control | Height Distribution | Horizontal Surroundings | Hot Water Distribution Type | Hot Water Reset Control | Humidification Type | HVAC Pipe Configuration | Identifier Label | Ignition Type | Implementation Status | Input Voltage | Installation Type | Insulation Material Type | Integration | Interior Shading Type | Interval Frequency | IT System Type | Lamp Label (Compact Fluorescent) | Lamp Label (Halogen) | Lamp Label (High Intensity Discharge) | Lamp Label (Incandescent) | Lamp Label (Linear Fluorescent) | Lamp Label (Solid State Lighting) | Lamp Length | Lighting Control Type Daylighting | Lighting Control Type Manual | Lighting Control Type Occupancy | Lighting Control Type Timer | Lighting Direction | Location | Locations Of Exterior Water Intrusion Damage | Locations Of Interior Water Intrusion Damage | Measure Name (Advanced Metering Systems) | Measure Name (Boiler Plant Improvements) | Measure Name (Building Automation Systems) | Measure Name (Building Envelope Modifications) | Measure Name (Chilled Water Hot Water And Steam Distribution Systems) | Measure Name (Chiller Plant Improvements) | Measure Name (Distributed Generation) | Measure Name (Electric Motors And Drives) | Measure Name (Electrical Peak Shaving Load Shifting) | Measure Name (Energy Cost Reduction Through Rate Adjustments) | Measure Name (Energy Distribution Systems) | Measure Name (Energy Related Process Improvements) | Measure Name (Future Other ECMs) | Measure Name (Lighting Improvements) | Measure Name (Other HVAC) | Measure Name (Plug Load Reductions) | Measure Name (Refrigeration) | Measure Name (Renewable Energy Systems) | Measure Name (Uncategorized) | Measure Name (Water And Sewer Conservation Systems) | Measure Scale Of Application | Metal Halide Start Type | Metering Configuration | Motor Application | Motor Enclosure Type | MV Option | Natural Ventilation Method | Normalization | Occupancy Classification | Occupant Quantity Type | Occupant Type | Occupants Activity Level | Operator Type | Other Energy Generation Technology | Ownership | Ownership Status | Phase | Photovoltaic System Location | Plug Load Type | Plumbing Penetration Sealing | Pool Size Category | Pool Type | Primary HVAC Control Strategy | Priority | Process Load Type | Pump Application | Pump Control Type | Pump Operation | Pumping Configuration | Radiant Type | Rank Type | Rate Structure Sector | Reading Type | Recirculation Control Type | Reflector Type | Refrigerant | Refrigeration Compressor Type | Refrigeration Unit Type | Reheat Control Method | Reheat Source | Resource Boundary | Resource Units | Roof Color | Roof Finish | Roof Framing Material | Roof Insulation Application | Roof Insulation Condition | Roof Insulation Continuity | Roof Slope | Schedule Category | Shared Resource System | Side Number | Skylight Layout | Skylight Window Treatments | Slab Heating | Slab Insulation Condition | Slab Insulation Orientation | Solar Thermal System Collector Loop Type | Solar Thermal System Collector Type | Solar Thermal System Type | Source | Spatial Unit Type | Special Roof Classification | State | Status | Street Dir Prefix | Street Dir Suffix | Street Suffix | Subaddress Type | System Category Affected | Systems Type | Telephone Number | Temporal Status | Terminal Unit | Thermal Medium | Thermal Zone Layout | Third Party Certification | Tier Direction | Tightness | Tightness Fit Condition | Time Series Reading Quantity | Type Of Cooking Equipment | Type Of Resource Meter | Ventilation Control Method | Ventilation Type | Ventilation Zone Control | Vertical Surroundings | Wall Framing Material | Wall Insulation Application | Wall Insulation Condition | Wall Insulation Continuity | Wall Insulation Location | Washer Dryer Type | Water Cooled Condenser Flow Control | Water Cooled Condenser Type | Water Heater Efficiency Type | Water Resource | Water Side Economizer Type | Water Use Type | Weather Data Source | Weather Station Category | Window Layout | Window Orientation | Zip Code | Zoning System Type
Steam | Single effect | During the day | Central fan | Blower door | CFM25 | Dry bulb temperature | COP | COP | Preliminary Energy-Use Analysis | Bronze | ENERGY STAR | Assisted Living Facility | EPA ENERGY STAR certified | Professional Engineer (PE) | Electromagnetic | Conditioned Basement | Direct drive | Portfolio Manager | Steam | Draft | Atmospheric | cfh | Horizontal | During the day | Electric Motor | Reciprocating | Vapor compression | 1A | Subarctic | Climate Zone 1 | 1 | Subarctic | Northern | 1 | Residential | Front | Empty | Single stage | Reciprocating | Variable Volume | Personal | Premises | Days | Programmable Thermostat | Perimeter baseboard | People | Escalator | Chilled water | Fixed | Wet Bulb Reset | Simple payback | All week | Wood | Electric | Desiccant wheel | Not discarded | Industrial | Counter-top | Stationary Rack Machine | Hot water | Side-by-side | NonSwinging | Natural | Residential | Single | Excellent | Duct leakage tester | Connections sealed with mastic | Flex uncategorized | Split DX air conditioner | Fixed | AKGD | Direct | EIA (US Energy Information Administration) | Co2e | Whole building | Forward | Electricity | Battery | Masonry | Floor U-Value, Mass | Direct | Bathroom | Solid wood | Very rough | Overhang | White | Wood | AC-to-AC | Supply | Mini-split | Variable Volume | Series | Axial | Aluminum-uncategorized | Argon | Single-pane | Gross | Carpet | Excellent | Instant start | Rectangular | Excellent | Cavity | As needed | Interruptible | Electricity | Warm air | Clear uncoated | Open loop ground water | During the day | Split | Run-around coil | Hot water | Single stage | Coldest Reset | Multiple Heights | No abutments | Looped | During the day | Steam | 1 pipe | Premises | Intermittent ignition device | Proposed | 120 | Plug-in | Fiberglass | Integrated with central air distribution | Blind | 10-minute | Server | 2D | A-shape | Sodium Vapor High Pressure | A19 | Super T8 | LED | 2 ft | Continuous | Manual On/Off | Occupancy Sensors | Astronomical | Direct | Indoors | Roof | Kitchen | Install advanced metering systems | Replace boiler | Add heat recovery | Air seal envelope | Add pipe insulation | Add energy recovery | Install CHP/cogeneration systems | Add drive controls | Install thermal energy storage | Change to more favorable rate schedule | Implement power factor corrections | Implement industrial process improvements | Other | Retrofit with CFLs | Replace or modify AHU | Replace with ENERGY STAR rated | Replace ice/refrigeration equipment with high efficiency units | Install landfill gas, wastewater treatment plant digester gas, or coal bed methane power plant | Other | Install low-flow faucets and showerheads | Individual system | Probe start | Direct metering (tenants directly metered) | Fan | Open | Option A: Retrofit Isolation With Partial Measurement | Air changes per hour | National Median | Manufactured home | Peak total occupants | Family household | Low | Owner | Standby generator | Property management company | Owned | Phase AN | Roof | Personal Computer | Flashing | Olympic | Hot Tub | Pneumatic | Primary | Medical Equipment | Boiler | Constant Volume | On Demand | Primary | Radiator | Fair | Residential | Point | Continuous | Specular Reflector | R134a | Reciprocating | Refrigerator | Dual Maximum | Heating plant | Site | Cubic Meters | White | Wood | Wood | Loose-fill | Excellent | Cavity | Flat | Business | Shared energy systems or meters for multiple building on a single lot | A1 | All Zones | Window film | Heated | Excellent | 12 in Horizontal | Air direct | Single glazing black | Hot water | Default | Lots | Cool roof | AA | Existing | North | North | Alley | Apartment | Air Distribution | Cooling |  | Pre retrofit | CAV terminal box with reheat | Air | Perimeter | ENERGY STAR | Increasing | Very Tight | Tight | Currency | Hot top range | Revenue grade meter | CO2 Sensors | Exhaust only | Average Flow | Stand-alone | Wood | Loose-fill | Excellent | Cavity | Interior | Combination All-In One Clothes Washer-Dryer | Fixed Flow | Cooling tower | Energy Factor | Potable water | Parallel Plate and Frame Heat Exchanger | Restroom Sink Use | On-Site Measurement | FAA | Continuous | North |  | Single zone
Solar energy | Double effect | At night | Induction units | Tracer gas | CFM50 | Enthalpy | EER | AFUE | Level 1: Walk-through | Silver | ENERGY STAR Certified Homes | City Hall | LEED certified | Certified Energy Manager (CEM) | Electronic | Unconditioned Basement | Standard belt | Buildings Performance Database Tool | Hot water | Received | Power | cfm | Vertical | At night | Steam | Screw | Absorption | 1B | Marine | Climate Zone 2 | 2 | Marine | North-Central | 2 | Commercial | Top | Insulated | Multiple discrete stages | Screw | Stepped Speed | Work | Occupant | Evenings | Manual Analog Thermostat | Chilled beam | Freight | Elevator | Refrigerant | Outside Air Reset | Max Cells | Return on investment | Weekday | Steel | Off-cycle | Liquid desiccant | Long payback | Commercial | Stationary Under Counter | Conveyor Machine | Direct steam | Top and bottom | Swinging | Mechanical forced | Commercial | Dual | Good | Blower door subtract | No observable leaks | Grey flex | Packaged terminal air conditioner (PTAC) | Differential | AKMS | Indirect | EPA (US Environmental Protection Agency) | Co2 | Total lighting | Reverse | Natural gas | Thermal Energy Storage (TES) | Structural brick | Roof U-Value, Non-Attic | Direct indirect | Kitchen hood | Hollow wood | Rough | Fin | Light | Stone | AC-to-DC | Return | Multi-split | Stepped | Parallel | Centrifugal | Aluminum-no thermal break | Krypton | Double-pane | Net | Tile | Good | Rapid start | L-Shape | Good | Continuous | Daily | Firm | Natural gas | Fireplace | Low-e | Closed loop ground source | At night | Packaged Terminal | Thermal wheel | Steam | Multiple discrete stages | Fixed | Uniform Height | Attached from Above | Distributed | At night | Water Spray | 2 pipe | Listing | Pilot light | Evaluated | 208 | Recessed | Cellulose | Integrated with local air distribution | Curtain | 15-minute | Networking | A-series | BR30 | Sodium Vapor Low Pressure | A21 | T12 | Other | 4 ft | Continuous Plus Off | Manual Dimming | Vacancy Sensors | Chronological | Indirect | Outdoors | Interior ceiling | Bathroom | Clean and/or repair | Replace burner | Add or upgrade BAS/EMS/EMCS | Increase wall insulation | Repair and/or replace steam traps | Install VSD on electric centrifugal chillers | Install fuel cells | Replace with higher efficiency | Implement training and/or documentation | Energy cost reduction through rate adjustments - uncategorized | Implement power quality upgrades | Implement production and/or manufacturing improvements |  | Retrofit with T-5 | Improve distribution fans | Install plug load controls | Replace air-cooled ice/refrigeration equipment | Install photovoltaic system |  | Install low-flow plumbing equipment | Multiple systems | Pulse start | Master meter without sub-metering (Tenants not directly metered or sub-metered) | Pump | Enclosed | Option B: Retrofit Isolation With Full Measurement | Flow per area | Regional Median | Single family | Adults | Married couple, no children | High | Occupant | Turbine | Corporation/partnership/LLC | Mortgaged | Phase A | Ground | Task Lighting | Fitting | Recreational | Pool | Electric | Secondary | Laboratory Equipment | Chilled Water | Variable Volume | Standby | Secondary | Radiant floor or ceiling | Good | Commercial | Median | Temperature | Prismatic Reflector | R123 | Screw | Freezer | Single Maximum | Local electric resistance | Source | kcf | Light | Stone | Steel | Batt | Good | Continuous | Sloped | Occupied | Shared energy systems or meter for multiple buildings on multiple lots | A2 | Core Only | Solar screen | Unheated | Good | 12 in Vertical | Air indirect | Single glazing selective | Hot water and space heating | Estimate | Parking spaces | Green roof | AE | Proposed | Northeast | Northeast | Annex | Basement | Heating System | Heating |  | Post retrofit | VAV terminal box fan powered no reheat | Ice | Perimeter and core | ENERGY STAR Most Efficient | Decreasing | Tight | Average | Current | Open burner range | Advanced resource meter | Fixed | Supply only | Critical Zone | Attached on one side | Steel | Batt | Good | Continuous | Exterior | Unitized/Stacked Washer Dryer Pair | Two Position Flow | Other | Thermal Efficiency | Wastewater | Series Plate and Frame Heat Exchanger | Restroom Toilet/Urinal Water Use | Weather Station | ICAO | Discrete | Northeast |  | Multi zone
Combustion | Other | During sleeping and unoccupied hours | Low pressure under floor | Checklist | CFM75 | Demand controlled ventilation | SEER | HSPF | Level 2: Energy Survey and Analysis | Gold | LEED | Community Center | Simple building | Building Operator Certification (BOC) | Integrated | Half Conditioned Basement | Cogged belt | EnergyIQ | Other | Under Review | Sealed Combustion | kcf/h | Combination | During sleeping and unoccupied hours | Gas Turbine | Scroll | Other | 2A | Hot-dry | Climate Zone 3 | 3 | Hot-dry | South-Central | 3 | Industrial | Other | Solid | Variable | Scroll | Constant Volume | Other | Agency | Cell | Manual Digital Thermostat | Other | Goods | Conveyor Belt | Air | Scheduled | Min Cells | Lifecycle Cost (LCC) | Weekend | Concrete | Hot-gas | Other | Requires permit | Residential | Stationary Single Tank Door Type | Other | Steam to hot water heat exchanger | Walk-in | Unknown | Mechanical induced | Industrial | Three | Average | Pressure pan | Some observable leaks | Mylar flex | Split heat pump | Other | AZNM | Net | Utility | CH4 | Interior lighting | Unknown | Fuel oil | Pumped-Storage Hydroelectricity (PSH) | Stone | Walls U-Value, Framed | Indirect | Laboratory hood | Uninsulated metal | Medium rough | Awning | Medium | Tile | Low Voltage | Exhaust | Terminal reheat | Constant Volume | Draw Through | Other | Aluminum-thermal break | Other Insulating Gas | Triple-pane | Finished | Hardwood | Average | Programmed start | U-Shape | Average | Other | Weekly | Other | Fuel oil | Heating stove | Tinted | Other | During sleeping and unoccupied hours | Packaged Unitary | Heat pipe | Refrigerant | Variable | Outside Air Reset |  | Attached from Below | Point-of-use | During sleeping and unoccupied hours | Other | 3 pipe | Name | Other | Selected | 240 | Surface | EPS | Stand-alone | Shade | 30-minute | Security | Circline | BR40 | Metal Halide | G16C | T5 |  | Other | Stepped Dimming | Bi-level Control | Other | Other | Direct-Indirect | Closet | Foundation | Basement | Implement training and/or documentation | Decentralize boiler | Add or upgrade controls | Insulate thermal bypasses | Retrofit and replace chiller plant pumping, piping, and controls | Replace chiller | Install microturbines | Add VSD motor controller | Upgrade operating protocols, calibration, and/or sequencing | Energy service billing and meter auditing recommendations | Upgrade transformers | Clean and/or repair |  | Retrofit with T-8 | Improve ventilation fans | De-lamp vending machines | Replace refrigerators | Install wind energy system |  | Install on-site sewer treatment systems | Individual premise | Other | Master meter with sub-metering (Tenants sub-metered by building owner) | Conveyance | Other | Option C: Whole Building Measurement | Flow per person | Adjusted to specific year | Multifamily | Children | Male householder, no spouse | Unknown | Property management company | Microturbine | Religious organization | Leased | Phase AB | Building-integrated | Printing | Other | Short Course | Fountain | Other | Tertiary | Machinery | Domestic Hot Water | VFD | Schedule | Tertiary | Other | Superior | Industrial | Average | Timer | Other | R22 | Scroll | Combination | Other | Local gas | Onsite | MCF | Medium | Tile | Concrete | Spray-on | Average | Other | > 2:12 | Unoccupied | Energy system or meter not shared | A3 | Other | Shading | Other | Average | 24 in Horizontal | Liquid direct | Double glazing black | Space heating | Agent | Apartment units | Other | AL | Past | East | East | Arcade | Berth | Cooling System | Hot Water |  | Baseline | VAV terminal box fan powered with reheat | Pool water | Single zone | FEMP Designated | Other | Average | Loose | Current Angle | Wok range | Analog | Occupancy Sensors | Dedicated outdoor air system | Other | Attached on two sides | Concrete | Spray-on | Average | Other | Unknown | Other | Variable Flow | Unknown |  | Greywater | Strainer Cycle | Kitchen Water Use | TMY | NWS | Unknown | East |  | Unknown
Waste heat | Unknown | Seasonal | Local fan | Other | CFMnatural | Nonintegrated | kW/ton | Other | Level 3: Detailed Survey and Analysis | Emerald | Home Energy Upgrade Certificate of Energy Efficiency Performance | Courthouse | Class 1 building | Building Performance Institute (BPI) Certification | Core and Coil | Other | Synchronous belts | Labs21 | Unknown | On Hold | Rotary Cup | MCF/day | Unknown | Seasonal | Other | Centrifugal | Unknown | 2B | Mixed-dry | Climate Zone 4 | 4 | Mixed-dry | Southern | 4 (Except Marine) | Other | Unknown | Unknown | Modulating | Centrifugal | Other |  | Owner | Other | Manual On/Off | Unknown | Other | Overhead Conveyor | Glycol | Warmest Reset | Other | Net Present Value | Saturday | Brick | Reverse cycle | Unknown | Other | Other | Stationary Pot-pan-utensil | Unknown | Other | Other |  | Other | Other | Ductless | Fair | Visual inspection | Significant leaks | Duct board | Packaged terminal heat pump (PTHP) | Unknown | CAMX | Other | Other | N2O | Exterior lighting |  | Fuel oil No-1 | Fly wheel | Concrete masonry unit | Walls + Windows U-Value | Other | Other | Insulated metal | Medium smooth | Solar screen | Med-dark | Brick | No-Load Mode | Other | Fan coil 2 pipe | Other | Blow Through | Unknown | Clad | Air | Single-paned with storm panel | Footprint | Vinyl | Poor | Other | H-Shape | Poor | Unknown | Bi-weekly | Unknown | Fuel oil No-1 | Built-in heater | Tinted + low-e | Unknown | Never / rarely | Other | Air to air heat exchanger | Air | Modulating | Scheduled |  | Attached from Above and Below | Other | Seasonal | Unknown | 4 pipe | Portfolio Manager Property ID | Unknown | Recommended | 277 | Suspended | XPS | Other | None | Hourly | Telephoning | Spiral | MR11 | Mercury Vapor | G25M | T5HO |  | Unknown | Stepped Switching | Tri-level Control | None | None | Spotlight | Garage | Basement | Other | Upgrade operating protocols, calibration, and/or sequencing | Insulate boiler room | Convert pneumatic controls to DDC | Increase ceiling insulation | Repair or replace existing condensate return systems or install new condensate return systems | Install gas cooling | Convert fuels | Clean and/or repair | Other | Change to lower energy cost supplier(s) | Install gas distribution systems | Implement training and/or documentation |  | Install spectrally enhanced lighting | Convert CV system to VAV system | Improve data center efficiency | Clean and/or repair | Install wood waste or other organic waste stream heating or power plant |  | Implement water efficient irrigation | Multiple premises | Unknown | Combination | Plug Load | Unknown | Option D: Calibrated Simulation | Flow per zone | Weather normalized | Multifamily with commercial | Average residents | Female householder, no spouse |  | Other corporation/partnership/LLC | Fuel cell | Individual | Rented | Phase BN | Other | Cash Register | Unknown | Other | Water Fall | Unknown | Back-up | Motor | Solar Hot Water | Multi-Speed | Other | Other | Unknown |  | Other | Total | Demand | Unknown | R290 | Centrifugal | Other | Unknown | Other | Offsite | Gallons | Med-dark | Brick | Brick | Rigid | Poor | Unknown | < 2:12 | Sleeping | Other | B1 | Unknown | None | Unknown | Poor | 24 in Vertical | Liquid indirect | Double glazing selective | Hybrid system | Assessor | Businesses |  | AK | Reference | Southeast | Southeast | Avenue | Block | Other HVAC | Interior Lighting |  | Current | VAV terminal box not fan powered no reheat | Domestic water | Other | CEE Tier 1 |  | Leaky | Unknown | Demand | Braising pan | Interval | Scheduled | Heat recovery ventilator | Unknown | Attached on three sides | Brick | Rigid | Poor | Unknown | None | Unknown | Other |  |  | Reclaimed water | Thermo Cycle | Shower Facility Water Use | TMY2 | WBAN |  | Southeast
Other |  | Never-rarely | Other |  | ACH50 | Other | Other | Unknown |  | Certified | Home Energy Upgrade Certificate of Energy Efficiency Improvements | Education | Other | Building Performance Institute: Building Analyst (BA) | F-Can | Unknown | Other | Fabs21 |  | Reviewed and Approved | Other | gpm |  | Never-rarely | Unknown | Other |  | 3A | Hot-humid | Climate Zone 5 | 5 | Hot-humid |  | 4 (Marine) | Unknown |  | Not Applicable | Other | Other | Unknown |  | Customer |  | EMCS |  | Unknown | Other | Other | Other | Unknown | Internal Rate of Return | Sunday | Masonry | Water |  | Unknown | Unknown | Stationary glasswashing |  | Unknown | Unknown |  | Unknown | Unknown | Other | Poor | Other | Catastrophic leaks | Sheet metal | Variable refrigerant flow |  | ERCT |  |  | Other | Heating |  | Fuel oil No-2 | Other | Concrete-solid | Window Solar Heat Gain Coefficient |  | Unknown | Glass | Smooth | Solar film | Dark | Masonry | Other | Unknown | Fan coil 4 pipe | Unknown | Other |  | Composite | Other | Unknown | Rentable | Other | Other | Unknown | T-Shape | Other/combination | None | Monthly |  | Fuel oil No-2 | Individual space heater | Reflective |  | Other | Unknown | Earth to air heat exchanger | Glycol | Other | Staged Setpoint |  | Unknown | Unknown | Never-rarely |  | Other | Portfolio Manager Standard |  | Initiated | 347 | Other | Rock wool | Unknown | Other | Daily | UPS | Other | MR16 | Other | G40M | T8 |  |  | Other | Other | Unknown | Unknown | Floodlighting | Attic | Crawlspace |  | Other | Add energy recovery | Upgrade operating protocols, calibration, and/or sequencing | Increase roof insulation | Add recirculating pumps | Add or repair economizer cycle | Clean and/or repair | Implement training and/or documentation |  | Other | Clean and/or repair | Upgrade operating protocols, calibration, and/or sequencing |  | Retrofit with fiber optic lighting technologies | Upgrade operating protocols, calibration, and/or sequencing | Clean and/or repair | Implement training and/or documentation | Clean and/or repair |  | Clean and/or repair | Entire facility |  | Unknown | Process Load |  | Combination | Wind and stack open area | Other | Multifamily individual unit | Workers on main shift | Cooperative household |  | Religious organization | Gasification | Franchise | Occupied without payment of rent | Phase B | Unknown | Audio |  | Unknown | Stream |  | Other | Air Compressor | Condenser | Other | Unknown | Unknown |  |  |  | Peak | Other | None | R401a | Other | Unknown |  | Unknown | Net | Wh | Dark | Masonry | Masonry | Other | Other | None | Other | Public access | Unknown | B2 |  | Unknown |  | Other | 36 in Horizontal | Passive thermosyphon | Evacuated tube | Other | Auditor | Guest rooms |  | AP | Other | South | South | Bayou | Building | Lighting | Overall HVAC Systems |  | Target | VAV terminal box not fan powered with reheat | Molten salt | Unknown | CEE Tier 2 |  | Very Leaky |  | Frequency | Underfired broiler | Net | Other | Energy recovery ventilator |  | Within a building | Masonry | Other | Other | None |  |  | Unknown |  |  | Captured rainwater | Other | Drinking Fountain Water Use | TMY3 | WMO |  | South
Unknown |  | Other | Unknown |  | ACHnatural | Unknown |  |  |  | Platinum | Passive House | Library | None | Building Performance Institute: Advanced Home Energy Professional (HEP) | Other |  | Unknown | Other |  | Reviewed and Not Approved | Unknown | W |  | Other |  | Unknown |  | 3B | Mixed-humid | Climate Zone 6 |  | Mixed-humid |  | 5 |  |  |  | Unknown | Unknown |  |  | Customer agreement |  | Always On |  |  | Unknown | Unknown | Unknown |  | Other | Holiday | Other | Cool gas |  |  |  | Single Tank Conveyor | [6 empty] | Unknown | Very poor |  | Unknown | Galvanized | Packaged/unitary direct expansion/RTU |  | FRCC |  |  |  | Cooling |  | Fuel oil No-4 | Unknown | Concrete-lightweight | Windows U-Value |  |  | Other | Very smooth | Louver | Other | Concrete | Unknown |  | VRF terminal units |  | Unknown |  | Fiberglass | Unknown |  | Occupied | Unknown | Unknown |  | O-Shape | Unknown |  | Semi-quarterly |  | Fuel oil No-4 | Other | Reflective on tint |  | Unknown |  | Earth to water heat exchanger | Other | Unknown | Other |  |  |  | Other |  | Unknown | Federal real property |  | Discarded | 480 | Unknown | Insulsafe |  | Unknown | Weekly | Other | Unknown | MR8 | Unknown | MR16 | T12U |  |  | None | None |  |  | Omnidirectional | Other | Walls |  |  | Convert gas-fired unit to boiler loop | Other | Insulate attic hatch / stair box | Replace or upgrade water heater | Add or replace cooling tower | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing |  |  | Implement training and/or documentation | Other |  | Retrofit with light emitting diode technologies | Repair leaks / seal ducts | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Implement training and/or documentation |  | Implement training and/or documentation | Entire site |  |  | Compressor |  | Other | Other |  | Residential | Full-time equivalent workers | Nonfamily household |  | Other non-profit organization | Binary Cycle | Other non-government | Other | Phase CN |  | Display |  |  | Other |  |  | Fume Hood | Cooling Tower | Unknown | [5 empty] | Minimum | Unknown |  | R404a | Unknown |  |  |  | Gross | kWh | Other | Concrete | Other | Unknown | Unknown |  | Unknown | Setback |  | B3 |  |  |  | Unknown | 36 in Vertical | Other | Integrated collector storage | Unknown | Product specification | Stations |  | AS |  | Southwest | Southwest | Beach | Corridor | Domestic Hot Water |  |  | Design Target | Automatically controlled register | Sand |  | CEE Tier 3 |  | Unknown |  | Power | Overfired broiler | Smart meter | Unknown | Other |  | Unknown | Other | Unknown | Unknown | [6 empty] | Alternative water | Unknown | Janitorial Water Use | IWEC | Other |  | Southwest
|  | Unknown |  |  | Effective Leakage Area (in2) |  |  |  |  | One Star | Living Building Challenge | Lodging |  | Building Performance Institute: Advanced Home Energy Professional - Energy Auditor (HEP-EA) | No Ballast | [6 empty] | kW |  | Unknown |  |  |  | 3C | Cold | Climate Zone 7 |  | Cold |  | 6 | [7 empty] | Administrator |  | Timer | [7 empty] | Monday | Unknown | None |  |  |  | Multiple Tank Conveyor | [7 empty] | None |  |  | Flexible | Packaged/unitary heat pump |  | HIMS |  |  |  | Ventilation |  | Fuel oil No-5 and No-6 |  | Concrete-panels |  |  |  | Unknown | Unknown | Screen | Unknown | Metal |  |  | Other |  |  |  | Steel |  |  | Lighted |  | None |  | Other | None |  | Quarterly |  | Fuel oil No-5 and No-6 | Unknown | High performance tint |  |  |  | Other | Unknown |  | Unknown |  |  |  | Unknown |  |  | Tax book number |  | In Progress | 120/277 (dual) |  | Recycled cotton |  |  | Monthly | Unknown |  | PAR20 |  | PAR16 | T8U |  |  | Unknown | Unknown |  |  | Other | Unknown | Around windows |  |  | Convert system from steam to hot water |  | Add attic/knee wall insulation | Add energy recovery | Clean and/or repair | Upgrade operating protocols, calibration, and/or sequencing | Other |  |  | Upgrade operating protocols, calibration, and/or sequencing |  |  | Add daylight controls | Add duct insulation | Upgrade operating protocols, calibration, and/or sequencing | Other | Upgrade operating protocols, calibration, and/or sequencing |  | Upgrade operating protocols, calibration, and/or sequencing |  |  |  | Other |  |  | Unknown |  | Health care-Pharmacy | Average daily salaried labor hours | Single male |  | Privately-owned school | Anaerobic biodigester | Government | Unknown | Phase C |  | Set Top |  |  | Unknown |  |  | Appliance | Ground Loop | [6 empty] | Unknown |  |  | R407a |  |  |  |  | Other | MWh | Unknown | Metal | Unknown | None | None |  |  | Operating |  | C1 |  |  |  | None | 48 in Horizontal | Unknown | Other |  | Building Component Library | Buildings |  | AZ |  | West | West | Bend | Cubicle | Cooking |  |  | Last billing period | Manually controlled register | Rock |  | Other |  |  |  | Power Factor | Conveyor broiler | PDU input meter |  | Unknown |  |  | Unknown | None | None | [6 empty] | Other |  | Laundry Water Use | CWEC |  |  | West
[5 empty] | Other |  |  |  |  | Two Star | Green Globes | Medical Office |  | Building Performance Institute: Advanced Home Energy Professional - Quality Control Inspector (HEP-QCI) | [7 empty] | hp | [5 empty] | 4A | Very cold | Climate Zone 8 |  | Very cold |  | 7 | [7 empty] | Qualified Assessor |  | Other | [7 empty] | Tuesday | None | Other |  |  |  | Single Tank Flight Conveyor | [7 empty] | Unknown |  |  | Fiberboard | Single package vertical air conditioner |  | HIOA |  |  |  | Pump |  | District steam |  | Concrete-poured | [5 empty] | None |  | Metal panel |  |  | Unknown |  |  |  | Vinyl |  |  | Daylit |  |  |  | Unknown |  |  | Semi-annually |  | District steam |  | Sunbelt low-E (low SHGC) |  |  |  | Unknown | [9 empty] | Tax map number |  | Completed | 120-277 (universal) |  | ISOCY |  |  | Annually |  |  | PAR30 |  | PAR20 | Other | [6 empty] | Unknown |  | Other |  |  | Clean and/or repair |  | Install cool/green roof | Install solar hot water system | Implement training and/or documentation | Other |  |  |  | Other |  |  | Add occupancy sensors | Balance ventilation/distribution system | Other |  | Other |  | Other |  |  |  | Unknown |  |  |  |  | Health care-Skilled nursing facility | Registered students | Single female |  | Individual owner | Hydrokinetic | Federal government |  | Phase ABC |  | Business Equipment | [5 empty] | Gaming/Hobby/Leisure | Pool | [9 empty] | R407c | [5 empty] | Btu |  | Metal panel | None |  |  |  |  | HVAC equipment |  | C2 |  |  |  |  | 48 in Vertical |  | Unknown |  | Utility transfer | Areas |  | AR |  | Northwest | Northwest | Bluff | Department | Refrigeration |  |  | Additional to last billing period | Uncontrolled register | Chemical oxides |  | None |  |  |  | Energy | Salamander broiler | IT equipment input meter |  |  |  |  | None | [10 empty] | Indoor Washdown Water Use (if indoor) | CZRV2 |  |  | Northwest
[10 empty] | Three Star | Challenge Home | Multi-family (4 floors or greater) |  | Building Performance Institute: Multifamily Building Analyst | [7 empty] | MW | [5 empty] | 4B |  | Climate Zone 9 |  |  |  | 8 | [7 empty] | Contributor |  | Unknown | [7 empty] | Wednesday |  | Unknown |  |  |  | Multiple Tank Flight Conveyor | [10 empty] | No ducting | Single package vertical heat pump |  | MORE |  |  |  | IT |  | District hot water |  | Concrete-load bearing | [5 empty] | Other |  | Metal panel-standing seam | [6 empty] | Wood |  |  | Heated | [6 empty] | Annually |  | District hot water |  | Suspended film | [13 empty] | Assessor parcel number |  | MV | 347-480 (high voltage) |  | Icynene |  |  | Quarterly |  |  | PAR38 |  | PAR30 | Unknown | [11 empty] | Implement training and/or documentation |  | Add shading devices | Separate DHW from heating | Upgrade operating protocols, calibration, and/or sequencing | [7 empty] | Clean and/or repair | Repair or replace HVAC damper and controller | [13 empty] | Health care-Residential treatment center | Staffed beds | Student community |  | Other nongovernment owner | Solar parabolic trough | State government |  | Phase BC |  | Other | [5 empty] | Infrastructure | Recirculation | [9 empty] | R408a | [5 empty] | kBtu |  | Metal panel-standing seam | [5 empty] | Cooling equipment |  | C3 |  |  |  |  | Fully Insulated Slab |  |  |  | Energy Management System | Thermal Zones |  | CA |  |  |  | Bluffs | Floor | Dishwasher |  |  | Current billing period | Other | Other |  | Unknown |  |  |  | Voltage | Broiler | Supply UPS output meter | [15 empty] | Outdoor Landscape Water Use | Other |  |  | Unknown
[10 empty] | Four Star | WaterSense | Multi-family (fewer than 4 floors) |  | Residential Energy Services Network (RESNET) Certification | [7 empty] | Btu/h | [5 empty] | 4C |  | Climate Zone 10 | [11 empty] | Property Management Company | [9 empty] | Thursday | [5 empty] | Other | [10 empty] | Other | Other |  | MROW |  |  |  | Plug-in electric vehicle |  | District chilled water |  | Concrete-insulated forms | [5 empty] | Unknown |  | Sheet metal | [6 empty] | Other |  |  | Cooled | [6 empty] | Unknown |  | District chilled water |  | Plastic | [13 empty] | Tax parcel letter |  | Verified | Other |  | Other |  |  | Other |  |  | Pin Base |  | PAR38 | [12 empty] | Upgrade operating protocols, calibration, and/or sequencing |  | Add window films | Replace with higher efficiency pump | Other | [7 empty] | Implement training and/or documentation | Replace burner | [13 empty] | Health care-Inpatient hospital | Licensed beds | Military community |  | Government | Solar power tower | Local government |  | Phase CA |  | Unknown | [5 empty] | Electric Vehicle Charging | Process Hot Water | [9 empty] | R409a | [5 empty] | MMBtu |  | Sheet metal | [5 empty] | Heating equipment |  | D1 |  |  |  |  | None |  |  |  | Direct measurement | Floors |  | CO |  |  |  | Bottom | Front | Laundry |  |  | Billed to date | Unknown | Unknown | [5 empty] | Voltage Angle | Microwave oven | PDU output meter | [15 empty] | Outdoor Non-Landscape Water Use
[10 empty] | Other | Indoor airPLUS | Office |  | Residential Energy Services Network (RESNET) - Home Partner | [7 empty] | cal/h | [5 empty] | 5A |  | Climate Zone 11 | [11 empty] | Operator | [9 empty] | Friday | [5 empty] | Unknown | [10 empty] | Unknown | Unknown |  | NEWE |  |  |  | Plug load |  | Propane |  | Concrete-aerated | [7 empty] | EIFS | [6 empty] | Unknown |  |  | Conditioned | [8 empty] | Propane |  | Other | [13 empty] | Custom |  | Unsatisfactory | Unknown |  | Unknown |  |  | Unknown |  |  | R20 |  | PS-Series | [12 empty] | Other |  | Install or replace solar screens | Replace with variable speed pump | [8 empty] | Upgrade operating protocols, calibration, and/or sequencing | Replace package units | [13 empty] | Health care-Outpatient rehabilitation | Capacity | Independent seniors community |  | Federal government | Other | Other |  | Phase S1 | [7 empty] | Other | Process Cold Water | [9 empty] | R410a | [5 empty] | therms |  | EIFS | [5 empty] | Lighting |  | D2 |  |  |  |  | Unknown |  |  |  | Design files | Rooms |  | CT |  |  |  | Boulevard | Hanger | Pump |  |  | Current day | [7 empty] | Distortion Power Factor | Toaster | Other | [15 empty] | Outdoor Washdown Water Use (if outdoor)
[11 empty] | NGBS ICC 700 | Parking Garage (Ventilation Only) |  | Registered Architect (RA) | [7 empty] | ft-lbf/h | [5 empty] | 5B |  | Climate Zone 12 | [11 empty] | Energy Auditor | [29 empty] | NWPP |  |  |  | Process load |  | Liquid propane |  | Steel frame | [7 empty] | Shingles-asphalt | [9 empty] | Unconditioned | [8 empty] | Liquid propane |  | Unknown | [13 empty] | Other |  | Other |  |  | None | [5 empty] | Other |  | R20 | [14 empty] | Replace glazing | Clean and/or repair | [8 empty] | Other | Replace packaged terminal units | [13 empty] | Health care-Diagnostic center | Capacity percentage | Special accessibility needs community |  | State government | Unknown | Unknown |  | Phase S2 | [7 empty] | Unknown | Potable Cold Water | [9 empty] | R500 | [5 empty] | lbs. |  | Shingles-asphalt | [5 empty] | Cooking equipment |  | D3 | [8 empty] | Simulation | Bedrooms |  | DE |  |  |  | Branch | Key | Fan |  |  | Current day last year | [7 empty] | Volumetric Flow | Standard fryer | Unknown | [15 empty] | Cooling Tower Make-up Water Use
[11 empty] | CMP Green Value Score | Police Station |  | Refrigerating System Operating Engineer | [7 empty] | ft-lbf/min | [5 empty] | 5C |  | Climate Zone 13 | [11 empty] | Energy Modeler | [29 empty] | NYCW |  |  |  | Conveyance |  | Kerosene |  | Wood frame | [7 empty] | Shingles-composition | [9 empty] | Semi-conditioned | [8 empty] | Kerosene | [17 empty] | Unknown | [8 empty] | Unknown |  | R30 | [14 empty] | Replace windows | Implement training and/or documentation | [9 empty] | Install passive solar heating | [13 empty] | Health care-Outpatient non-diagnostic |  | Government subsidized community |  | Local government |  |  |  | Phase S1S2 | [8 empty] | Refrigerant | [9 empty] | R502 | [5 empty] | Klbs |  | Shingles-composition | [5 empty] | Miscellaneous equipment |  | AO1 | [8 empty] | ENERGY STAR Portfolio Manager | Other |  | DC |  |  |  | Bridge | Lobby | Motor |  |  | Previous day | [7 empty] | Humidity ratio | Large vat fryer | [16 empty] | Hydronic Loop Make-up Water Use
[11 empty] | RESNET HERS | Post Office |  | High Pressure Boiler Operating Engineer | [7 empty] | Btu/s | [5 empty] | 6A |  | Climate Zone 14 | [11 empty] | Contractor | [29 empty] | NYLI |  |  |  | Domestic hot water |  | Diesel |  | Double wood frame | [7 empty] | Shingles-wood | [9 empty] | Heated and Cooled | [8 empty] | Diesel | [28 empty] | R40 | [14 empty] | Increase floor insulation | Upgrade operating protocols, calibration, and/or sequencing | [9 empty] | Replace AC and heating units with ground coupled heat pump systems | [13 empty] | Health care-Outpatient surgical |  | Therapeutic community |  | Other |  |  |  | Phase S1N | [8 empty] | Air | [9 empty] | R600a | [5 empty] | Mlbs |  | Shingles-wood | [5 empty] | On-peak |  | BO1 | [8 empty] | US EPA | Unknown |  | FM |  |  |  | Brook | Lot | Heat Recovery |  |  | Previous day last year | [7 empty] | Relative humidity | Split vat fryer | [16 empty] | Evaporative Cooling System Water Use
[11 empty] | Home Energy Score | Religious Building |  | Certified Commissioning Professional (CCP) | [7 empty] | kBtu/h | [5 empty] | 6B |  | Climate Zone 15 | [11 empty] | Implementer | [29 empty] | NYUP |  |  |  | Refrigeration |  | Coal |  | Structural insulated panel | [7 empty] | Shingles-asbestos | [9 empty] | Heated only | [8 empty] | Coal | [28 empty] | TC | [14 empty] | Insulate foundation | Other | [9 empty] | Add energy recovery | [13 empty] | Health care-Veterinary |  | No specific occupant type |  | Unknown |  |  |  | Phase S2N | [8 empty] | Other | [9 empty] | R744 | [5 empty] | Tons |  | Shingles-asbestos | [5 empty] | Off-peak | [10 empty] | US EIA |  |  | FL |  |  |  | Brooks | Lower | Wall |  |  | Other | [7 empty] | Diffuse Horizontal Radiation | Convection oven | [16 empty] | Pre-Treatment Process Water Use
[11 empty] | ASHRAE Building EQ | Retail |  | Associate Commissioning Professional (ACP) | [7 empty] | MMBtu/h | [5 empty] | 7 |  | Climate Zone 16 | [11 empty] | Financier | [29 empty] | RFCE |  |  |  | Cooking |  | Coal (anthracite) |  | Log-solid wood | [7 empty] | Shingles-slate or tile | [9 empty] | Cooled only | [8 empty] | Coal (anthracite) | [28 empty] | TM | [14 empty] | Clean and/or repair | [10 empty] | Add or replace cooling tower | [13 empty] | Health care-Morgue or mortuary |  | For-profit organization | [5 empty] | Phase S1S2N | [8 empty] | Unknown | [9 empty] | R717 | [5 empty] | Ton Hours |  | Shingles-slate or tile | [5 empty] | Super off-peak | [10 empty] | Target Finder |  |  | GA |  |  |  | Burg | Office | Roof / Ceiling | [10 empty] | Direct Normal Radiation | Combination oven | [16 empty] | Captured Rain Water
[11 empty] | Commercial Building Energy Asset Score | Senior Center |  | Existing Building Commissioning Professional (EBCP) | [7 empty] | therms/h | [5 empty] | 8 | [13 empty] | Commissioning Agent | [29 empty] | RFCM |  |  |  | Dishwasher |  | Coal (bituminous) |  | Straw bale | [7 empty] | Shakes-wood | [9 empty] | Ventilated | [8 empty] | Coal (bituminous) | [28 empty] | Other | [14 empty] | Other | [10 empty] | Install gas cooling | [13 empty] | Health care |  | Religious organization | [5 empty] | Other | [18 empty] | R718 | [5 empty] | Other / No Units |  | Shakes-wood | [5 empty] | Other | [10 empty] | Arch2030 |  |  | GU |  |  |  | Burgs | Penthouse | Fenestration | [10 empty] | Global Horizontal Radiation | Standard oven | [16 empty] | Recycled Greywater
[11 empty] | Other | Warehouse non-refrigerated |  | Commissioning Process Management Professional (CPMP) | [7 empty] | lbs/h | [19 empty] | MV Agent | [29 empty] | RFCW |  |  |  | Laundry |  | Coke |  | Built-up | [7 empty] | Carpet | [9 empty] | Enclosed | [8 empty] | Coke | [28 empty] | Unknown | [25 empty] | Add or repair economizer | [13 empty] | Gas station |  | Non-profit organization | [5 empty] | Unknown | [18 empty] | Other | [5 empty] | Unknown |  | Carpet | [16 empty] | ASHRAE |  |  | HI |  |  |  | Bypass | Pier | Foundation | [10 empty] | Dry-Bulb Temperature | Conveyor oven | [16 empty] | Condensate Recovery
[11 empty] | Unknown |  |  | Accredited Commissioning Process Authority Professional (CxAP) | [7 empty] | Klbs/h | [19 empty] | Evaluator | [29 empty] | RMPA |  |  |  | Pool heating |  | Wood |  | Other | [7 empty] | Linoleum | [9 empty] | Non-Enclosed | [8 empty] | Wood | [54 empty] | Add enhanced dehumidification | [13 empty] | Convenience store |  | Government organization | [24 empty] | Unknown | [7 empty] | Linoleum | [16 empty] | Other |  |  | ID |  |  |  | Camp | PO Box | General Controls and Operations | [10 empty] | Wet-Bulb Temperature | Slow cook-and-hold oven | [16 empty] | Stormwater Sewer Production
[14 empty] | NYSERDA FlexTech Consultant | [7 empty] | Mlbs/h | [19 empty] | Builder | [29 empty] | SPNO |  |  |  | On-site generation |  | Wood pellets |  | Unknown | [7 empty] | Asphalt or fiberglass | [9 empty] | Open | [8 empty] | Wood pellets | [54 empty] | Install solar ventilation preheating system | [13 empty] | Food sales-Grocery store |  | Federal government | [32 empty] | Asphalt or fiberglass | [19 empty] | IL |  |  |  | Canyon | Rear | Critical IT System | [10 empty] | Wind Speed | Deck oven | [16 empty] | Stormwater Discharge
[14 empty] | Certified Energy Auditor (CEA) | [7 empty] | Tons | [19 empty] | Service | [29 empty] | SPSO | [5 empty] | Hydropower | [9 empty] | Plastic-rubber-synthetic sheeting | [9 empty] | Lot | [8 empty] | Hydropower | [54 empty] | Clean and/or repair | [13 empty] | Food sales |  | State government | [32 empty] | Plastic-rubber-synthetic sheeting | [19 empty] | IN |  |  |  | Cape | Room | Plug Load | [10 empty] | Other | Mini-Rack oven | [16 empty] | Other
[14 empty] | High-Performance Building Design Professional (HBDP) | [7 empty] | Other | [19 empty] | Billing | [29 empty] | SRMV | [5 empty] | Biofuel | [9 empty] | Other | [9 empty] | Custom | [8 empty] | Biofuel | [54 empty] | Implement training and/or documentation | [13 empty] | Laboratory-Testing |  | Local government | [32 empty] | Other | [19 empty] | IA |  |  |  | Causeway | Seat | Process Load | [11 empty] | Rack (Roll-In) oven | [16 empty] | Unknown
[14 empty] | Other | [27 empty] | Architect | [29 empty] | SRMW | [5 empty] | Wind | [9 empty] | Unknown | [18 empty] | Wind | [54 empty] | Other heating | [13 empty] | Laboratory-Medical |  | Property | [32 empty] | Unknown | [19 empty] | KS |  |  |  | Center | Side | Conveyance | [11 empty] | Range oven
[14 empty] | None | [27 empty] | Mechanical Engineer | [29 empty] | SRSO | [5 empty] | Geothermal | [28 empty] | Geothermal | [54 empty] | Other cooling | [13 empty] | Laboratory |  | Animals | [52 empty] | KY |  |  |  | Centers | Slip | On-Site Storage, Transmission, Generation | [11 empty] | Rapid cook oven
[42 empty] | Energy Consultant | [29 empty] | SRTV | [5 empty] | Solar | [28 empty] | Solar | [54 empty] | Other ventilation | [13 empty] | Vivarium |  | Other | [52 empty] | LA |  |  |  | Circle | Space | Pool | [11 empty] | Rotisserie oven
[42 empty] | Service and Product Provider | [29 empty] | SRVC | [5 empty] | Biomass | [28 empty] | Biomass | [54 empty] | Other distribution | [13 empty] | Office |  | Vacant | [52 empty] | ME |  |  |  | Circles | Stop | Water Use | [11 empty] | Retherm oven
[42 empty] | Authority Having Jurisdiction | [29 empty] | Other | [5 empty] | Hydrothermal | [28 empty] | Hydrothermal | [54 empty] | Other | [13 empty] | Bank |  | Unknown | [52 empty] | MH |  |  |  | Cliff | Suite | Other | [11 empty] | Convection toaster oven
[42 empty] | Utility | [35 empty] | Dry steam | [28 empty] | Dry steam | [68 empty] | Courthouse | [54 empty] | MD |  |  |  | Club | Terminal | [12 empty] | Steam cooker
[42 empty] | Power plant | [35 empty] | Flash steam | [28 empty] | Flash steam | [68 empty] | Public safety station | [54 empty] | MA |  |  |  | Common | Tower | [12 empty] | Steam kettle
[42 empty] | Electric Distribution Utility (EDU) | [35 empty] | Ethanol | [28 empty] | Ethanol | [68 empty] | Public safety-Detention center | [54 empty] | MI |  |  |  | Commons | Trailer | [12 empty] | Drawer warmer
[42 empty] | ESCO | [35 empty] | Biodiesel | [28 empty] | Biodiesel | [68 empty] | Public safety-Correctional facility | [54 empty] | MN |  |  |  | Corner | Unit | [12 empty] | Heated transparent merchandising cabinets
[42 empty] | Facilitator | [35 empty] | Waste heat | [28 empty] | Waste heat | [68 empty] | Public safety | [54 empty] | MS |  |  |  | Corners | Upper | [12 empty] | Cook-and-hold appliance
[42 empty] | Finance Specialist | [35 empty] | Combination | [28 empty] | Combination | [68 empty] | Warehouse-Refrigerated | [54 empty] | MO |  |  |  | Course | Wing | [12 empty] | Proofing cabinet
[42 empty] | Other | [35 empty] | Other | [28 empty] | Other | [68 empty] | Warehouse-Unrefrigerated | [54 empty] | MT |  |  |  | Court | [13 empty] | Single-sided griddle
[78 empty] | Unknown | [28 empty] | Unknown | [68 empty] | Warehouse-Self-storage | [54 empty] | NE |  |  |  | Courts | [13 empty] | Double-sided griddle
[176 empty] | Warehouse | [54 empty] | NV |  |  |  | Cove | [13 empty] | Griddle
[176 empty] | Assembly-Religious | [54 empty] | NH |  |  |  | Coves | [13 empty] | Fry-top griddle
[176 empty] | Assembly-Cultural entertainment | [54 empty] | NJ |  |  |  | Creek | [13 empty] | Automatic drip filter coffee maker
[176 empty] | Assembly-Social entertainment | [54 empty] | NM |  |  |  | Crescent | [13 empty] | Single-serve coffee maker
[176 empty] | Assembly-Arcade or casino without lodging | [54 empty] | NY |  |  |  | Crest | [13 empty] | Espresso machine
[176 empty] | Assembly-Convention center | [54 empty] | NC |  |  |  | Crossing | [13 empty] | Other
[176 empty] | Assembly-Stadium | [54 empty] | ND |  |  |  | Crossroad | [13 empty] | Unknown
[176 empty] | Assembly-Public | [54 empty] | MP |  |  |  | Crossroads
[176 empty] | Recreation-Pool | [54 empty] | OH |  |  |  | Curve
[176 empty] | Recreation-Fitness center | [54 empty] | OK |  |  |  | Dale
[176 empty] | Recreation-Ice rink | [54 empty] | OR |  |  |  | Dam
[176 empty] | Recreation-Indoor sport | [54 empty] | PW |  |  |  | Divide
[176 empty] | Recreation | [54 empty] | PA |  |  |  | Drive
[176 empty] | Education-Higher | [54 empty] | PR |  |  |  | Drives
[176 empty] | Education-Secondary | [54 empty] | RI |  |  |  | Estate
[176 empty] | Education-Primary | [54 empty] | SC |  |  |  | Estates
[176 empty] | Education-Preschool or daycare | [54 empty] | SD |  |  |  | Expressway
[176 empty] | Education | [54 empty] | TN |  |  |  | Extension
[176 empty] | Food service-Fast | [54 empty] | TX |  |  |  | Extensions
[176 empty] | Food service-Full | [54 empty] | UT |  |  |  | Fall
[176 empty] | Food service-Limited | [54 empty] | VT |  |  |  | Falls
[176 empty] | Food service-Institutional | [54 empty] | VI |  |  |  | Ferry
[176 empty] | Food service | [54 empty] | VA |  |  |  | Field
[176 empty] | Lodging-Institutional | [54 empty] | WA |  |  |  | Fields
[176 empty] | Lodging with extended amenities | [54 empty] | WV |  |  |  | Flat
[176 empty] | Lodging with limited amenities | [54 empty] | WI |  |  |  | Flats
[176 empty] | Lodging | [54 empty] | WY |  |  |  | Ford
[176 empty] | Retail-Mall | [58 empty] | Fords
[176 empty] | Retail-Strip mall | [58 empty] | Forest
[176 empty] | Retail-Enclosed mall | [58 empty] | Forge
[176 empty] | Retail-Dry goods retail | [58 empty] | Forges
[176 empty] | Retail-Hypermarket | [58 empty] | Fork
[176 empty] | Retail | [58 empty] | Forks
[176 empty] | Service-Postal | [58 empty] | Fort
[176 empty] | Service-Repair | [58 empty] | Freeway
[176 empty] | Service-Laundry or dry cleaning | [58 empty] | Garden
[176 empty] | Service-Studio | [58 empty] | Gardens
[176 empty] | Service-Beauty and health | [58 empty] | Gateway
[176 empty] | Service-Production and assembly | [58 empty] | Glen
[176 empty] | Service | [58 empty] | Glens
[176 empty] | Transportation terminal | [58 empty] | Green
[176 empty] | Central Plant | [58 empty] | Greens
[176 empty] | Water treatment-Wastewater | [58 empty] | Grove
[176 empty] | Water treatment-Drinking water and distribution | [58 empty] | Groves
[176 empty] | Water treatment | [58 empty] | Harbor
[176 empty] | Energy generation plant | [58 empty] | Harbors
[176 empty] | Industrial manufacturing plant | [58 empty] | Haven
[176 empty] | Utility | [58 empty] | Heights
[176 empty] | Industrial | [58 empty] | Highway
[176 empty] | Agricultural estate | [58 empty] | Hill
[176 empty] | Mixed-use commercial | [58 empty] | Hills
[176 empty] | Parking | [58 empty] | Hollow
[176 empty] | Attic | [58 empty] | Inlet
[176 empty] | Basement | [58 empty] | Island
[176 empty] | Dining area | [58 empty] | Islands
[176 empty] | Living area | [58 empty] | Isle
[176 empty] | Sleeping area | [58 empty] | Junction
[176 empty] | Laundry area | [58 empty] | Junctions
[176 empty] | Lodging area | [58 empty] | Key
[176 empty] | Dressing area | [58 empty] | Keys
[176 empty] | Restroom | [58 empty] | Knoll
[176 empty] | Auditorium | [58 empty] | Knolls
[176 empty] | Classroom | [58 empty] | Lake
[176 empty] | Day room | [58 empty] | Lakes
[176 empty] | Sport play area | [58 empty] | Land
[176 empty] | Stage | [58 empty] | Landing
[176 empty] | Spectator area | [58 empty] | Lane
[176 empty] | Office work area | [58 empty] | Light
[176 empty] | Non-office work area | [58 empty] | Lights
[176 empty] | Common area | [58 empty] | Loaf
[176 empty] | Reception area | [58 empty] | Lock
[176 empty] | Waiting area | [58 empty] | Locks
[176 empty] | Transportation waiting area | [58 empty] | Lodge
[176 empty] | Lobby | [58 empty] | Loop
[176 empty] | Conference room | [58 empty] | Mall
[176 empty] | Computer lab | [58 empty] | Manor
[176 empty] | Data center | [58 empty] | Manors
[176 empty] | Printing room | [58 empty] | Meadow
[176 empty] | Media center | [58 empty] | Meadows
[176 empty] | Telephone data entry | [58 empty] | Mews
[176 empty] | Darkroom | [58 empty] | Mill
[176 empty] | Courtroom | [58 empty] | Mills
[176 empty] | Kitchen | [58 empty] | Mission
[176 empty] | Kitchenette | [58 empty] | Motorway
[176 empty] | Refrigerated storage | [58 empty] | Mount
[176 empty] | Bar | [58 empty] | Mountain
[176 empty] | Dance floor | [58 empty] | Mountains
[176 empty] | Security room | [58 empty] | Neck
[176 empty] | Shipping and receiving | [58 empty] | Orchard
[176 empty] | Mechanical room | [58 empty] | Oval
[176 empty] | Chemical storage room | [58 empty] | Overpass
[176 empty] | Non-chemical storage room | [58 empty] | Park
[176 empty] | Janitorial closet | [58 empty] | Parks
[176 empty] | Vault | [58 empty] | Parkway
[176 empty] | Corridor | [58 empty] | Parkways
[176 empty] | Deck | [58 empty] | Pass
[176 empty] | Courtyard | [58 empty] | Passage
[176 empty] | Atrium | [58 empty] | Path
[176 empty] | Other | [58 empty] | Pike
[176 empty] | Unknown | [58 empty] | Pine
Pines
Place
Plain
Plains
Plaza
Point
Points
Port
Ports
Prairie
Radial
Ramp
Ranch
Rapid
Rapids
Rest
Ridge
Ridges
River
Road
Roads
Route
Row
Rue
Run
Shoal
Shoals
Shore
Shores
Skyway
Spring
Springs
Spur
Spurs
Square
Squares
Station
Stravenue
Stream
Street
Streets
Summit
Terrace
Throughway
Trace
Track
Trafficway
Trail
Trailer
Tunnel
Turnpike
Underpass
Union
Unions
Valley
Valleys
Viaduct
View
Views
Village
Villages
Ville
Vista
Walk
Walks
Wall
Way
Ways
Well
Wells